## Data with many rows
Topic. |  | BOQ for earthing/neutral |  |  |  |  | Prepared by: | Soham
Company: |  | AMS 801 |  |  |  |  | Date: | 2025-01-03
Project: |  | AMS 801
| Price per unit |  | 3422 | 1623 | 3422 | 1623 | 3422 | 1623 | 3422
S No | Details of earthing & neutral with usage/equipment | Location | Independent body earthing - 100/2750mm CI electrode - Qty in Nos | Independent body earthing - 75/1800mm CI electrode - Qty in Nos | Earthing bank body earthing - 100/2750mm CI electrode - Qty in Nos | Earthing bank body earthing - 75/1800mm CI electrode - Qty in Nos | Independent neutral - 100/2750mm CI electrode - Qty in Nos | Independent neutral - 75/1800mm CI electrode - Qty in Nos | Neutral bank - 100/2750mm CI electrode - Qty in Nos | Sub-total | Remarks
1 | Transformer - 1000KVA |  | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 4 | Scope of Contractor / Venu babu
2 | Vacuum Curci Breaker (VCB) |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | Scope of Contractor / Venu babu
3 | Metering cubical |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | Scope of Contractor / Venu babu
4 | Single pole structure |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | Scope of Contractor / Venu babu
5 | LT kiosk |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | Scope of Contractor / Venu babu
6 | Panel main PCC |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2
7 | Panel APFC |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2
8 | Panel -Sub PCC |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
11 | DG1-250KVA |  | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 3
12 | DG2-250KVA |  | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 3
13 | Lift 1 |  | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2
14 | Lift 2 |  | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2
16 | Lightening arrestor |  | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 6
17 | UPS |  | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2
18 | VTPN-4 nos |  | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 4
19 | Isolator panel-5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Extra earthing/neutral |  | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 4
22 | Street lights |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | ETP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | STP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | HSD |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | Cable trays |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Fire alarm |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
28 | Fire pump room |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Chillers |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | Chiller pumps |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | UMCC panel |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Total: |  | 10 | 11 | 11 | 4 | 2 | 1 | 5 | 44
33 | Total cost: |  | 34220 | 17853 | 37642 | 6492 | 6844 | 1623 | 17110