Internal Memo no. 912/161/B– construction		Date: 13-05-2025

Subject: Guidelines for ordering Adhesive for Tiles/Granite fixing works.

Keywords: Adhesive flooring, wall cladding

- Adhesive for fixing of tiles and granite for floor, vertical surfaces and below lentils has been standardized.

- Following material to be used:

| Sl. No. | Description of item | Details of use | SKU no. | Appx. Cost | Initial order Qty, Min. stock Qty, Reorder Qty |
| --- | --- | --- | --- | --- | --- |
|  | MYK Laticrete 345 Superflex Highly Deformable floor and wall adhesive - Available in 20 kg | Use for: External surface wall cladding. Granite cladding below lentil – top member of jambs for fire doors/ windows/ French windows. Cladding of 1200 x 2400 tiles on interior walls. | CHEM4810-Chemical- MYK Laticrete-345 Super Flex Adhesive- Misc-Nos | Rs. 1,800/- per 20 kg bag. | 10 – 5 – 5 |
|  | MYK Laticrete 335 Superflex multipurpose floor and wall adhesive - Available in 20 kg | Use for: Granite jambs (except top member). Internal wall cladding (except large tiles). | CHEM5982-Chemical- MYK Laticrete-335 Super Flex Adhesive- Misc-Nos | Rs. 1,007/- per 20 kg bag. | 20 – 10 – 10 |
|  | MYK Laticrete 325 High Flex Ag Silver floor and wall adhesive - Available in 20 kg | Use for: Bathroom/utility wall and floor tiles – use sparingly as replacement for conventional mortar. Use for flooring over existing tiles or granite. | CHEM5352-Chemical- MYK Laticrete-325 Super Flex Adhesive- Misc-Nos | Rs. 800/- per 20 kg bag. | 10 – 5 – 5 |
|  | Adhesive for flooring - MYK Laticrete 305 Grey - Available in 20 kg bag. | Use for: Flooring of tiles and granite – however, use sparingly only where conventional mortar cannot be used. Use for flooring over VDF or finished concrete. | CHEM6602-Chemical- MYK Laticrete 305-20kgs- Nos. | Rs. 266/- per 20 kg bag. | 50 – 25 – 25 |

|  | Ultratech tilefixo NT - Available in 25 kg bag. | This is alternate for MYK325 and 305. Use sparingly. | CHEM3732-Chemical- UltraTech Tilefixo NT- Misc-Nos | Rs. 620/- per 25 kg bag. | Nil |
| --- | --- | --- | --- | --- | --- |
|  | Adhesive for flooring and cladding – miscellaneous | Use this SKU for specialty applications or alternate brands in place of MYK | CHEM5170-Chemical-Adhesive wall floor-Misc-Nos | NA | Nil |
|  | Square Notch Trowel | For maintaining thickness of adhesive | TOOL9464-Tools- Notched Trowel-Nos | Rs. 300/- each. | 10 – 5 – 5 |

Notes:

- The thickness of adhesive for wall cladding should be between 4 and 6mm. In case plastered surface is uneven – replaster before using adhesive.

- For windows and door jambs – check dimensions using MS template. Adhesive cannot exceed 8mm in thickness. Replaster before using adhesive. Jambs for lentil bottoms must be corrected with plastering before using adhesive.

- Rough plastered surface for wall cladding must have grooves. In case grooves have not been provided  - DO NOT HACK WITH CHISSEL – hack with grinding machine + masonry blade in a grid of 200mm.

- Approximate coverage is about 50 sft per bag.

- Use of square notch trowel is mandatory. Each site must order 3 trowels before starting work.

- Purchase to maintain adequate stock of above items.

- Use of araldite to be eliminated (or minimised). Do not use araldite for making rough surface behind the tile or granite.

Soham Modi