Circular No. 308(d) - Purchase Division					Date 25-09-2025

Subject: SOP for stocking material at MHTR.

Keywords: MHTR, SKU, Centralised purchase, SSLLP, stock

- Material purchase has been centralized through Modi Housing Pvt. Ltd., - Trading Account (MHTR). This is a revised SOP.

- All materials required for construction except for material which is heavy or cannot be stored or is customized or directly installed by vendor at site is being stored at MHTR.  Aggregates, cement, RMC, lifts, cement blocks, bricks, generators, panels, chillers, etc., are not being stocked at MHTR.

- We have about 4000 SKUs (stock keeping unit). The unique identity for each SKU is a 4 + 4 alpha numeric code.

  - 4 character category code (Eg.: TLWL for tiles – wall tiles)

  - 4 digit numerical code – this is unique to each SKU (Eg. 3344)

  - Category (Eg.: tiles)

  - Sub-category (Eg.: wall tiles).

  - Description/specification  (Eg.: ceramic)

  - Brand/code (Eg.: Nitco -Malaysian brown DK)

  - Size (Eg.: 250x375mm – hereinafter all sizes are in mm)

  - Units for rates (Eg.: Sqm – hereafter all areas are in Sq mtrs).

  - Example of SKU: TLWL3344-Tiles-Wall Tiles-Ceramic-Malaysian Brown DK-250x375mm-sqm.

- Smartsheet has been made for making new SKUs.

- It is important that the splitting of SKUs i.e., one SKU of each type of item is not too fine grained. Some items may be rarely used and such items should be ordered by a broadly defined SKU (Eg.:DOOR6170-doors-doorframe with threshold – WPC-Misc-Nos) so that large no. of items are ordered with the same SKU. The details of each item canbe specified in additional specifications. At the same time SKUs should not be to course grained. Eg.: Panel doors – 3 sizes which are regularly used should have 3 separate SKUs. This helps in data mining.

- Not all items are being stocked at MHTR. Only some items which are regularly used at being stocked at MHTR. An excel sheet should be prepared for each category and sub-category of items as per standard format provided. The details of categories and sub-categories are as under:

| Sl. No. | Category code | Category | Sub-category | Description of items |
| --- | --- | --- | --- | --- |
|  | ELEC | Electrical | Wires | All kinds of wires and cables |
|  | ELEC | Electrical | Switches | Switches, MCBs, MCCBs, DBs, etc. |
|  | ELEC | Electrical | Conducting | Pipes, bends, metal boxes, saddles, junction boxes – PVC only (exclude FRLS & MS) |
|  | ELEC | Electrical | Earthing | Earthing pipes, powder, covers, GI strips, copper strips, aluminum strips, lightning conductor, insulator, etc. |
|  | ELEC | Electrical | Lights | LED lights, bulbs, streetlights, flood lights, etc. |
|  | ELEC | Electrical | Cable trays | All kinds of cable trays along with fasteners associated with cable trays (SKUs may be repeated). |
|  | ELEC | Electrical | Miscellaneous | Any items that wont fall in the above items |
|  | PLUM | Plumbing | CPVC | CPVC pipes and fittings |
|  | PLUM | Plumbing | PVC | SWR pipes and fittings |
|  | PLUM | Plumbing | Rigid PVC | Rigid agriculture/PVC fittings |
|  | PLUM | Plumbing | GI | GI pipes and fittings. Very limited quantity |
|  | PLUM | Plumbing | Ecodrain | Limited quantity of 110 and 160mm pipes and fittings |
|  | PLUM | Plumbing | Housing CP & sanitary | CP & sanitary used for housing projects. Include rack bolts. |
|  | PLUM | Plumbing | Commercial CP & sanitary | Limited to Kohler CP & sanitary |
|  | HARD | Hardware | Fasteners | U clamps, brackets, nut-bolts, screws, nails, etc., which are used for electrical, plumbing, FAS, FFS, HVAC, carpentry, fitting, etc. |
|  | PAIN | Paints |  | All kinds of paints and related tools like brushes, sand paper, etc. |
|  | DOOR | Doors | NA | Door frames and door shutters – WPC, wooden, panel doors, flush doors, fire doors, fire hose cabinet, etc. |
|  | DOOR | Doors | Hardware | Hardware associated with fixing of doors ie., locks, hinges, stoppers, door handles, door closure, etc. |
|  | CHEM | Chemicals |  | Adhesives, grouts, laticrate, plasticizers, recron, etc. include silicone. |
|  | TOOL | Tools |  | All kinds of tools used for construction activity. Drills, hammers, blowers, digital tape, etc. |
|  | STEL | Steel | Pipes and angles | Round pipes, square pipes, ICMC, ICMB, L angles, rods, etc., used for fabrication, FAS, FFS, HVAC, etc. |
|  | STEL | Steel | Fittings | Base plates, flanges, bends, elbows, Tees, etc., used for fabrication, FAS, FFS, HVAC, etc. |
|  | FIRE | Fire & safety | FFS | Items used for firefighting system like sprinklers, hose box, hose reel, SS items, valves, etc. |
|  | FIRE | Fire & safety | FAS | Items used for fire alarm system like wires, fasteners, devices, hooters, call bell, FRLS conducting, MS conducting, |
|  | FIRE | Fire & safety | Instrumentation | Panels, cages, meters, etc., used for FAS and FFS – limited quantity |
|  | PUMP | Pumps |  | All kinds of pumps. Exclude old pumps. |
|  | CONS | Consumables |  | Housekeeping consumables. |
|  | STAT | Stationary |  |  |
|  | GENE | General | General Material | Spades, crowbars, sponges and some tools. |
|  | TILE | Tiles |  | Standard tiles used for projects |

- Mark-up for material supplied to projects from MHTR shall be as follows:

Initially mark-up for all items given in annexure - A including transportation charges shall be 5% and without transportation charges will be 4%. (if item is purchased for Rs. 100/- then it has to be sold for Rs. 105 or 104 respectively – use pre-GST rates).

- Hamali charges unloading and loading to be included in invoice for supply of material to projects. Projects where material is stored to pay Hamali charges and account in favour of MHTR. Details of Hamali are given in relevant circular of construction.

- MHTR to order in bulk using standard excel sheet.  Weekly schedule for ordering each category of items is given below.

| Day | Items to be ordered |
| --- | --- |
| Monday | Electrical |
| Tuesday | Plumbing, CP/Sanitary, Paints |
| Wednesday | Doors, Hardware, Tools |
| Thursday | General Consumables, Stationary, Peripherals |
| Friday | Fire & Safety |
| Saturday | Steel |

- Store timing 10am to 6pm. Stores cannot be opened on Sundays and holidays without explicit permission from MD.

- Format for preparing excel sheet for replenishing stock: SKU, category, sub-category, A-rate including GST, B-present stock, C = A*B – Present stock value, D-Pending delivery, E-minimum stock, F-new order quantity, New order sites, G= B + D – E – F  shortfall in stock. H -Recommended order quantity, I = H*A -order value.

Soham Modi.