DATE:17/12/2024

TO

M/S Modi  Gv Ventures LLP

Genome Valley

Hyderabad.

Sub:- Quotation for CMD OF 200kva and connected load of 250KW with 315KVA T/F liaisoning and commissioning – Reg.

Respected sir,

We thank you above enquiry and are pleased to submit our offer as follows:

The offer is self-Explanatory , However if you need any further information or clarifications please feel free to contact us. We will do the needful on hearing from you.

We trust you will find our offer in line with your  requirement and look forward for receiving your valued order.

Thanking you and assuring you of our best services at all times.

Terms and Conditions:

- Civil work done by the owner.

- Completion of the work within 60 days.

- 50% of the advance will be paid at time of placing order.

- Out of balance payment should be made as per progress of the work.remaining balance of 5% after charging.

- GST is extra

- DEPARTMENT DD IS PARTY SCOPE

For HI-TECH POWER ENTERPRISES

PROPRIETOR

| S.NO. | Description | Qty | Unit | Rate | Amount ( Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1. | a) Supply and erection of H.T RS joist box pole structure with 2 Nos. 150 x 75 mm R.S Joist poles , with 11kv 400A A.B Switch , H.G Fuse set, channels , insulators Etc. | 1 | NO. | 65,000 | 65,000/- |
| 2. | Supply and erection of 11KV 630A HT SFU with HRC Fuses with inter locked earth switch complete outdoor type.Make G5 | 1 | NO. | 1,00,000 | 1,00,000/- |
| 3 | Supply and laying of 11KV 3 core x 95 Sq.mm XLPE insulated under ground cable. | 45 | Mtrs. | 1250 | 56,250/- |
| 4 | Providing of H.T 95 Sq.mm Heat shrinkable cable jointing kits (indoor type) | 2 | NO. | 6500 | 13,000/- |
| 5 | Providing of H.T 95 Sq.mm Heat shrinkable cable jointing kits ( out door type) | 8 | NO. | 7500 | 60,000/- |
| 7 | Supply and erection of 630A MCCB Box for I/C and O/G Outdoor type. | 1 | NO | 78,060 | 78,060/- |
| 8 | Providing of earthing to transformer A.B Switch, SFU , CT/PT ,with spreading of homogeneous mixture of char-coal,salt etc. |  |  | 35,000 | 35,000/- |
|  | a) C.I Pipe with 2500 mm long and 40 mm dig. | 14 | NO. | 1500 | 21,000/- |
|  | b) G.I Earth Flat with 40 x 6mm | 65 | MTS | 350 | 21,000/- |
|  | c) Copper strip for neutral earthing of transformer (2 Runs) | 25 | MTS. | 1250 | 31,250/- |
|  | d) Providing copper plate earth station with size of 300 x 300 x 3.00 mm | 2 | NO | 3000 | 6000/- |
| 9 | Supply and Laying of L.T 95 Sq.mm 3 ½ core aluminium under ground cables. T/F to MCCB Box and MCCB to PCC Panel . | 40 | MTS. | 675 | 27,000/- |
| 10 | Supply and fixing of sub-station accessories , like fire buckets wit sand , hand gloves , 4.5 kgs. Fire extinguisher , rubber mats etc. | LS | LS | 25,000 | 25,000/- |
| 11 | Draw of CT/PT , H.T Meter and testing with MRT (TGSPDCL) | LS | LS | 50,000 | 50,000/- |
| 12 | Erection of CT/PT set , H.T meter box , Wooden Clamps , Pipe for cable, clamps , red oxide , paint nut & bolt etc. | LS | LS | 26,000 | 26,000/- |
| 13 | Laision charges for TSSPDCL for sanction of Estimate. | LS | LS | 2,00,000 | 2,00,000/- |
| 14 | Laision charges and fee for CEIG approval of drawing and getting permission | LS | LS | 1,75,000 | 1,75,000/- |
| 15 | LC charges and charging | LS | LS | 25,000 | 25,000/- |
|  |  |  |  | TOTAL | 10,16,500/- |

Rupees: Ten Lakhs Sixteen thousand Five Hundred Only

For HI-TECH POWER ENTERPRISES