## SOV Fire Estimation
Company Name: SOV
Project:
Work Description: Estimation for material and labour for fire Fighting fabrication works as per fire drawing
Contractor :
Prepared By : V Ramesh Reddy
Date: 18.09.2025
S No | Item | Item Description | Units | A Quantity as per Madison drawing | B Material Rate | C=(A*B) Amount | D Total Amount | Installation rate in percentage (E) | Installation Amount (F=D*E) | Remarks
A | Down Comers, Terrace Ring main
1 |  | STEL-Steel-MS Round Pipe-C Class-100Dx6000Lmm-Kgs | Rmt | 48 | 1160 | 55680
2 |  | STEL3182-Steel-MS Round Pipe-C Class-50Dx6000Lmm-Kgs | Rmt | 15 | 495.2 | 7428
3 |  | STEL7599-Steel-MS Dummy Round Plate-C Class--100mmD-Nos | Nos | 2 | 600 | 1200
4 |  | STEL-Steel-MS Dummy Round plate-50D-Nos. | Nos | 2 | 225 | 450
5 |  | FIRE8108-Fire & Safety-MS Flange-Table E-100DX10Tmm with 8Holes-Nos. | Nos | 8 | 600 | 4800
6 |  | STEL3027-Steel-MS 90 Bend-C Class-100Dmm-nos | Nos | 10 | 660 | 6600
7 |  | PAIN8548-Paints-Red Oxide Primer-- Asian-1Ltr-Can | lts | 5 | 220 | 1100
8 |  | PAIN5030-Paints-Enamel-Post Office Red--4Ltrs-Can | 4lts | 3 | 1020 | 3060
9 |  | PAIN3425-Paints-Thinner--1Ltr-Nos. | lts | 10 | 100 | 1000
10 |  | TOOL7927-Tools-paint brush --75mm-Nos. | no | 5 | 50.84 | 254.2
11 |  | HARD2087-Hardware-MS Bolt+Nut+Double washer--15.8X150mm-Kgs | Kgs | 5 | 126 | 630
12 |  | HARD8123-Hardware-MS Bolt+Nut+Double washer--16X75mm-Kgs | Kgs | 5 | 128 | 640
13 |  | GI U bolt 100 Dx8mmT | Nos | 15 | 50 | 750
14 |  | GI U bolt 50 Dx8mmT | Nos | 10 | 30 | 300
15 |  | GI Threaded rods 8mm of 2000m length | Nos | 10 | 80 | 800
16 |  | 8mm sleeve and bullet | Nos | 20 | 5 | 100
17 |  | HARD8721-Hardware-U Clamps-Sprinkler Hanger-100Dx25Wx2.5Tx180Hmm-Nos. | Nos | 5 | 100 | 500
18 |  | HARD6681-Hardware-GI Nut--8mm-Kgs | Kgs | 1 | 112 | 112
19 |  | HARD9103-Hardware-GI Washer-Form C-M8-100-gms | gms | 10 | 11 | 110
20 |  | Wedge Anchor bolt 12mmx100mm | Nos | 50 | 30 | 1500
21 |  | 25Dx100mm L MS Nipple | Nos | 5 | 30 | 150
|  | Total |  |  |  |  | 87014.2 | 35% | 30454.97 | FS105
B | Mechanical Accessories
1 |  | Y Strainer 100 dia | Nos | 1 | 9000 | 9000
2 |  | 100 dia BFValve | Nos | 2 | 4350 | 8700
3 |  | 100 dia NRV | Nos | 1 | 3000 | 3000
4 |  | Pressure switches | Nos | 1 | 1250 | 1250
5 |  | Pressure guages-Glycerine (0-14 kg/sqcm) | Nos | 2 | 1500 | 3000
6 |  | Firged brass Ball valves 25mm | Nos | 5 | 1000 | 5000
7 |  | Firged brass Ball valves 15mm | Nos | 2 | 750 | 1500
8 |  | Air release valve | Nos | 1 | 625 | 625
|  | Total |  |  |  |  | 32075 | 15% | 4811.25 | FS107
C | Fire Pumps
Installation,Testing & Commissioning
1 |  | Booster pump | Nos | 1 | 50000 | 50000
|  | Total |  |  |  |  | 50000 | 8% | 4000 | FS109
D | Structural Supports
1 |  | ISMC 75 | Kgs | 130 | 70 | 9100 |  | 40 | 5200
9100
E | End fittings
1 |  | Single Hydrant Valves | Nos | 5 | 5133 | 25665
2 |  | Hose Reel Drum with branch pipe | Nos | 5 | 5900 | 29500
3 |  | Hose pipes 15m Length | Nos | 10 | 3400 | 34000
4 |  | SS branch pipe | Nos | 5 | 1380 | 6900
5 |  | 4.5 KG ABC TYPE FIRE EITINGUISHER | Nos | 9 | 1050 | 9450
6 |  | 6KG CO2 FIRE EITINGUISHER | Nos | 9 | 1180 | 10620
[7 empty] | 116135 | 10% | 11613.5 | FS108
|  | Total |  |  |  |  | 294324.2 |  | 56079.72
|  | GST 18% |  |  |  |  | 52978.356 |  | 10094.3496
|  | Total |  |  |  |  | 347302.556 |  | 66174.0696